EFFECTIVE AUGUST 28,  2019 AND SUPERSEDES ALL PREVIOUS VERSIONS.

SECTION 07 27 00

MECHANICALLY ATTACHED AIR AND WEATHER BARRIER

SIGA MAJVEST®

(Specifier Note:  The purpose of this guide specification is to assist the specifier in correctly specifying high-performance air and weather barrier products and execution.  The specifier needs to edit these guide specifications to fit the needs of each specific project.  Contact a SIGA applications advisor to assist in appropriate product selections.  Throughout the guide specification, there are Specifier Notes to assist in the editing of the file.  The term Architect is used throughout these guide specifications and may be revised to read “Design Professional”,” Engineer”, “Owner” or other appropriate designation as required for specific projects.

References have been made within the text of the specification to MasterFormat 2004 Section numbers and titles, specifier need to coordinate this numbers and titles with sections included for the specific project.  Brackets [ ]; “AND/OR”; and “OR” have been used to indicate when a selection is required.

This guide is for commercial/residential applications using a 3-layer water-resistive and air barrier. Its two outer layers are made of a high strength spun-bonded polypropylene (PP) nonwoven. They are thermally bonded to a highly vapor permeable, watertight polymeric middle layer. Its high permeability and airtightness makes it an ideal water-resistive and air barrier or energy efficient construction. The product is watertight and will help to protect the building envelope from wind-driven rain and snow.

This weather barrier is specifically for above grade, vertical wall surfaces where the wall assembly may consist of any of the following: exterior gypsum sheathing, exterior plywood sheathing, oriented strand board (OSB) sheathing, stud walls with no sheathing, and masonry).

(Specifier Note: For wall systems anticipating prefabrication and installation of air barrier as a panelized design: contact SIGA applications advisor for assistance and consult the SIGA Manual www.siga.swiss).

----------------------------------------------------------------------------------------------------

GENERAL

SECTION INCLUDES

(Specifier Note: “Air and weather barrier assembly” has been used throughout the document. A weather barrier is a weather-resistant membrane for vertical building envelope protection that will provide air/moisture resistance while maintaining moisture-vapor permeability. The assembly consists of the following components).

- Mechanically attached Weather resistive and air barrier (SIGA Majvest®).

- Accessories.

  - Seam and joint tapes (SIGA Wigluv®, SIGA Fentrim® 430 grey ).

  - Flashing Tapes (SIGA Wigluv®, SIGA Fentrim® 430 grey, SIGA Fentrim® 230 grey, SIGA Fentrim® IS 20).

  - Fasteners.

  - Adhesive/Primer (SIGA Dockskin®).

- Note to Specifier:  Carefully and completely edit "WORK SPECIFIED IN OTHER SECTIONS" below to coordinate with other sections being included in the project manual.

RELATED SECTIONS

(Specifier Note: Carefully and completely edit " RELATED SECTIONS" below to coordinate with other sections being included in the project manual).

Section 07 27 00 - Air Barriers:  Water-resistant barrier.

Section 07 65 00 – Flexible flashing tapes.

REFERENCE

ASTM International (ASTM):

ASTM D882 - Test Method for Tensile Properties of Thin Plastic Sheeting.

ASTM D1970 - Specification for Self-Adhering Polymer Modified Bituminous Sheet Materials Used as Steep Roofing Underlayment for Ice Dam Protection.

ASTM D3330 - Test Method for Peel Adhesion of Pressure-Sensitive Tape.

ASTM D5034 -  Test Method for Breaking Strength and Elongation of Textile Fabrics.

ASTM E84 - Test Method for Surface Burning Characteristics of Building Materials.

ASTM E96 - Test Methods for Water Vapor Transmission of Materials.

ASTM E283 - Test Method for Determining Rate of Air Leakage Through Exterior Windows, Curtain Walls, and Doors Under Specified Pressure Differences Across the Specimen.

ASTM E330 - Test Method for Structural Performance of Exterior Windows, Doors, Skylights and Curtain Walls by Uniform Static Air Pressure Difference.

ASTM E2178 - Test Method for Air Permeance of Building Materials.

ASTM E2357 - Test Method for Determining Air Leakage of Air Barrier Assemblies.

ASTM E2556/E2556M - Standard Specification for Vapor Permeable Flexible Sheet Water-Resistive Barriers Intended for Mechanical Attachment.

American Association of Textile Chemists and Colorists (AATCC): AATCC 127 - Test Method for Water Resistance: Hydrostatic Pressure Test.

American Architectural Manufacturers Association (AAMA).

AAMA 711-13 - Specification for Self Adhering Flashing Used for Installation of Exterior Wall Fenestration Products.

SUBMITTALS

Refer to Section [01 33 00 Submittal Procedures] [insert section number and title].

Product Data: Submit manufacturers’ current product data sheets, details and installation instructions for the water-resistive vapor permeable air barrier and drainage matrix membrane components and accessories.

Manufacturer Instructions: Submit manufacturer’s written installation instructions.

QUALITY ASSURANCE

Qualifications.

Installer shall have experience with installation of commercial sheet good weather barrier assemblies.

Installation shall be in accordance with weather barrier manufacturer’s installation guidelines and recommendations.

Source Limitations: Provide air and weather barrier, and accessory materials produced by single manufacturer.

Whenever possible, installer shall undergo an onsite SIGA installation training before the installation of SIGA products begin. Contact SIGA to set up a free installation training.

Compliance with Standards: Products shall meet or exceed the requirements of AATCC 127, ASTM D882, ASTM E84, ASTM E96, ASTM E2178, CAN/ULC-S741-08, CAN/ULC-S742-11, ASTM E2357, ASTM E330, ASTM D5034, ASTM D1970, and ASTM D3330.

Mock-Up: Install a mock-up using approved weather barrier system including membrane, flashing, joint and detailing tape and related weather barrier accessories according to weather barrier manufacturer’s current printed instructions and recommendations.

Mock-up Size: [10 feet by 10 feet] [insert size], in a location on the building.

Mock-up Substrate: Match wall assembly construction, including window opening and typical trough wall penetrations.

Mock-up may remain as part of the work.

Arrange for manufacturer’s designated representative prior to weather barrier system installation, to perform required mock-up visual inspection and analysis as required for warranty.

Pre-installation Meeting.

Refer to Section [01 31 19 Project Meetings] [insert section number and title].

(Specifier Note:  A Pre-installation meeting is mandatory for projects where the SIGA Weatherization Products 10 Year Limited Warranty is specified and recommended for all projects using SIGA Majvest®. Requirement may be DELETED if SIGA Warranty is not specified).

Convene a pre-installation conference, a minimum of two weeks prior to start of weather barrier installation. Attendees shall include Contractor, Architect, installer, and weather barrier manufacturer’s designated field representative.

Review all related project requirements and submittals, status of substrate work and preparation, areas of potential conflict and interface, availability of weather barrier system materials and components, installer’s training requirements, equipment, facilities and scaffolding. Coordinate methods, procedures and sequencing requirements for full and proper installation, integration and protection.

Review requirements for sequencing of installation of weather barrier system with installation of windows, doors, louvers and metal flashings to provide a weather-tight barrier system. Schedule installation of exterior cladding within three months of weather barrier system installation.

DELIVERY, STORAGE, AND HANDLING.

Deliver materials to Project site in original packages with seals unbroken, labeled with the material Manufacturer's name, product, date of manufacture, and directions for storage.

Store materials in their original undamaged packages in a clean, dry, protected location and within temperature range required by material manufacturer.  Protect stored materials from direct sunlight.

Handle materials in accordance with material manufacturer’s recommendations.

Packaging Waste Management:

- (Specifier Note: DELETED section below if packaging waste management doesn’t need to be specified).

Separate and recycle waste packaging materials in accordance with Section 01 74 19  Construction Waste Management and Disposal.

Remove waste packaging materials from site and dispose of packaging materials at appropriate recycling facilities.

WARRANTY

Manufacturer Warranty: Submit manufacturer’s standard 10-year warranty for weather barrier against defects in materials.

PRODUCTS

- (Specifier Note: Product Information is proprietary to SIGA Majvest®. If additional products are required for competitive procurement, contact SIGA applications advisor for assistance).

MANUFACTURER

Manufacturer, Basis-of-Design: SIGA Cover Inc., 1229 N. North Branch Street, Suite 310, Chicago, Illinois 60642 ; +1-855-733-7442; www.siga.swiss.

MATERIAL

Basis of Design : Water-Resistive Barrier Mechanically Attached.

          - 3 layer, spun-bonded polypropylene (PP), non-woven, thermally bonded to a highly vapor permeable, watertight polymeric middle layer weather barrier is based on SIGA Majvest® and related assembly components.

Performance Characteristics.

          - Air leakage:

            - ASTM E2178 : Pass.

            - ASTM E2357: Pass.

          - Water Vapor Transmission per ASTM E96:

            - Method A/ desiccant method: 54 US perms (3095 Ng/Pa.m².s).

            - Method B/ water method: 68 US perms (3890 Ng/Pa.m².s).

          - Water Penetration Resistance :  >110 inches (>290 cm) when tested in accordance with AATCC Test Method 127.

          - Basis Weight:  0.45 oz/ft² (136 g/m²).

          - Thickness : 0.02" (0.5 mm).

          - Tensile Strength per ASTM D 882:

            - 34 lbs/inch MD.

            - 24 lbs/inch CD.

          - Surface Burning Characteristics :  Class A, when tested in accordance with ASTM E84:

            - Flame Spread: 5.

            - Smoke Developed: 50.

ACCESSORIES

Joint Tape: Pressure sensitive, with acrylic based adhesive.

SIGA Wigluv® 2.4” (60mm), or wider  4” (100mm), 6” (150mm) , 9”(230mm).

AND/OR

SIGA Fentrim® 430 grey 4” (100mm), or wider 6” (150mm) , 9”(230mm).

Fasteners

- (Specifier Note:  Fasteners are dependent upon substrate construction.  More than one type of fastener may be required on a single project, REVIEW construction conditions and DELETE fasteners that are unnecessary).

(Specifier Note:  Recommended Fasteners for Steel Frame construction) 1 ¼  inch galvanized or corrosion-resistant screws with caps or gasketed metal washers.

AND/OR

(Specifier Note:  Recommended Fasteners for Wood, Insulated Sheathing Board, Exterior Gypsum ).

Galvanized or corrosion-resistant nails with caps or gasketed metal washers.

Plastic cap staples.

AND/OR

(Specifier Note:  Recommended Fastening to Masonry) 1 ¾ inch (44 mm) minimum Masonry tap-con fasteners with caps or gasketed metal washers.

Flashing

- (Specifier Note:  Flashing is dependent upon construction conditions.  DELETE flashing products that are unnecessary and inappropriate for specific project).

SIGA Wigluv® 2.4” (60mm), or wider  4” (100mm), 6” (150mm) , 9”(230mm): Flexible membrane flashing materials for window openings and penetrations, base joint connections, and at transitions between different assembly materials.

AND/OR

SIGA Fentrim® 430 grey 4” (100mm), or wider 6” (150mm) , 9”(230mm) : Flexible membrane flashing materials for base joint connections, and at transitions between different assembly materials.

AND/OR

SIGA Fentrim® 230 grey 3” (75mm), or wider 4” (100mm), 6” (150mm): Pre-folded tape for sealing windows and doors, for exterior application.

AND/OR

SIGA Fentrim®  IS 20 3” (75mm), or wider 4” (100mm), 6” (150mm): Pre-folded tape for sealing windows and doors, for indoor application.

Sealants.

- (Specifier Note:  Sealants are not required with the SIGA system but they could be recommended by the window manufacturer. If it’s the case sealants compatible with weather barrier assembly may be specified in this section or in Division 07 sealants section).

Refer to Section [07 92 00 Joint Sealants] [insert section number and title].

[other].

Primer.

(Specifier Note:  Product listed below is only recommended for inclusion when required, and should be EDITED for specific project. When using SIGA Wigluv®, primer will be required in concrete, masonry, plaster and softboards applications. For the correct choise of product for the intended application, the substrate matrix, the application recommendations and product information in the SIGA manual must be considered. The currently valid SIGA manual is available at www.siga.swiss).

Provide flashing manufacturer recommended primer to assist in adhesion between substrate and flashing.

Product:

SIGA Dockskin®.

EXECUTION

EXAMINATION

Verify substrate and surface conditions are in accordance with weather barrier manufacturer recommended tolerances prior to installation of weather barrier and accessories.

Verify that surfaces and conditions are suitable prior to commencing work of this section.  Do not proceed with installation until unsatisfactory conditions have been corrected.

Verify substrate is dry.

Ensure that the following conditions are met:

Surfaces are sound, dry, even, and free of excess mortar or other contaminants.

Inspect surfaces to be smooth without large voids or sharp protrusions.  Inform General Contractor if substrates are not acceptable and need to be repaired by another sub-contractor.

Inspect masonry joints to be  flush and completely filled, and ensure all excess mortar sitting on masonry ties has been removed. Inform General Contractor if masonry joints are not acceptable and need to be repaired by the masonry sub-trade.

Verify sealants are compatible with flexible sheet air barrier proposed for use. The current valid SIGA sealant compatibility matrix is available at www.siga.swiss.

Notify Architect in writing of anticipated problems installing the air barrier material over substrate prior to proceeding.

INSTALLATION- WEATHER BARRIER

Install weather barrier over exterior face of exterior wall substrate in accordance with manufacturer recommendations.

Install weather barrier prior to installation of windows and doors.

Begin by aligning the bottom edge of the roll approximately 3-6 inches below the base of the wall onto the foundation, approximately 12 inches from a corner, with the print side facing out.  Maintain weather barrier plumb and level.

Unroll the  weather barrier completely, wrapping the entire building, including door and window openings.

Temporarily fasten every 24" - 36" within coverage area.

Overlap weather barrier at all corners of building by a minimum of 12 inches.

Overlap weather barrier at all seams by a minimum of 4 inches and tape all horizontal and vertical seams with SIGA Wigluv®  or SIGA Fentrim® 430 grey.

Secure to foundation with SIGA Wigluv® with primer SIGA Dockskin® , or  SIGA Fentrim® 430 grey as recommended by weather barrier manufacturer.

Weather Barrier permanent Attachment: Fasten securely to a stud, structural sheathing or through insulation board to an underlying framing member with maximum horizontal and vertical spacing of 24”.

- (Specifier Note:  Attachment method is dependent upon substrate construction.  DELETE methods that are unnecessary and inappropriate for specific project).

(Specifier Note:  Steel or Wood Frame Construction) Attach weather barrier to studs through exterior sheathing. Secure using weather barrier manufacturer recommend fasteners, space 24 inches on center, maximum horizontally.

AND/OR

(Specifier Note:  Masonry Construction) Attach weather barrier to masonry. Secure using weather barrier manufacturer recommend fasteners, space 24 inches maximum horizontally. Weather barrier may be temporarily attached to masonry using recommended adhesive, placed in vertical strips spaced 24 inches on center, when coordinated on the project site.

- (Specifier Note: Cladding anchors, supports and fasteners will likely be specified in the section including the cladding, COORDINATE the inclusion of the following paragraph in the appropriate specification section. With weather barrier manufacturer’s approval cladding anchors can be used to fasten the weather barrier).

Apply a piece of SIGA Wigluv® or SIGA Fentrim® 430 grey or weather barrier manufacturer approved alternate to weather barrier membrane prior to the installation cladding anchors.

SEAMING

Seal seams of weather barrier with seam tape SIGA Wigluv®  2.4” (60mm) or wider, or SIGA Fentrim® 430 grey 4” (100mm) or wider,  at all vertical and horizontal overlapping seams.

Seal any tears or cuts with seam tape SIGA Wigluv® or SIGA Fentrim® 430 grey as recommended by weather barrier manufacturer.

- (Specifier Note: Opening preparation and flashing installation is dependent upon the construction of the opening and construction of the window. DELETE execution requirements that are not appropriate for specific project. COORDINATE proper design and detailing at windows, doors and other openings or intersections for proper flashing in accordance with window manufacturer guidelines, industry standards and best flashing and waterproofing practices).

OPENING PREPARATION (for all windows)

- (Specifier Note: Window manufacturer’s instructions over-ride SIGA specifications for window openings. The installer is responsible to resolve any conflicts in the specifications, sequencing, materials or techniques between window manufacturer’s instructions and SIGA specifications before construction. MAINTAIN the following opening preparation and flashing articles, when used in conjunction with non-flanged windows, or flanged windows. Contact SIGA applications advisor for assistance and consult the SIGA Guidelines www.siga.swiss).

Membrane preparation.

Cut SIGA Majvest® flush with sill and jambs, and 1" above the head.

Create a flap of SIGA Majvest® above RO head. From each upper corner make a 9" cut upward at 45 degrees. Flap the top piece of SIGA Majvest® to the outside and temporarily hold it up with a piece of tape.

Sill preparation.

Cut SIGA Wigluv® 4" wider than the sill so it will extend 2" past each end of the rough opening.

Crease the tape using the split backing and remove one backing strip. Center and apply to exterior face.

Cut tape lengthwise toward corners.

Remove second backing strip and apply tape on sill. Firmly press the tape on with a roller or squeegee.

- (Specifier Note: Best construction practice requires window sill details to be waterproofed and flashed prior to the placement of the window assembly. DELETE methods that are unnecessary and inappropriate for specific project).

- (Specifier Note: no pan flashing for all construction details incorporating fenestration drainage systems  provided by the building designer, or where wall construction details are specifically provided by fenestration manufacturers’ installation instructions.) Cover horizontal sill by aligning SIGA Wigluv® with inside edge of sill.  Release one backing strip and adhere to rough opening across sill.  Release remaining backing strip and secure flashing firmly to wall face.

OR

- (Specifier Note: pre-fabricated sill pan flashing) Follow sill pan manufacturers’ instructions, window manufacturer’s instructions and ASTM E2112 recommendations.

- (Specifier Note: field-fabricated sill pan flashing ) Use SIGA Wigluv®  to field-fabricate a sloped sill pan flashing over a beveled slope-to-drain sill plate or over sill with back-dam. Cover horizontal sill by aligning SIGA Wigluv® with inside edge of sill.  Release one backing strip and adhere to pan flashing across sill.  Release remaining backing strip and secure flashing firmly to wall face.

Corner preparation.

Create two gussets with SIGA Wigluv® 100 by cutting a piece of tape that’s the full depth of the rough opening plus 3”.

Cut one end of the tape at a 45 degree angle to create a “dog ear”.

Crease tape lengthwise, fold in the middle and work gusset into corner while removing one backing strip.

Firmly press the tape onto the rough opening using a roller or squeegee.

Stretch the SIGA Wigluv® tape around the corner toward the ecterior – wrinkles are normal.

Repeat steps C and D for remaining portions of the rough opening (jambs and head) and corners.

Coordinate flashing with window installation.

FLASHING (for use with non-flanged windows)

- (Specifier Note: Refer to section 3.4 Opening Preparation [above] before installing the window according to manufacturer’s instructions).

Install window according to manufacturer’s instructions.

Sill preparation.

OPTIONAL Dependent on window type the sill can either be taped or left open for drainage. Check with your window manufacturer before taping.

Cut SIGA Wigluv® 20/40 or SIGA Fentrim® 230 grey about 2" wider than the width of the prepared rough opening. Remove smaller backing paper and apply tape along the underside of the window while applying firm pressure.

Remove larger backing paper and press on firmly using a roller or squeegee.

Make 45° cuts at each end, from the inside corner outward, make sure to not cut tape too deep to avoid pinholes. Fold both ends up and apply firm pressure.

Jamb preparation.

Cut SIGA Wigluv® 20/40 or SIGA Fentrim® 230 grey about 2" longer than the vertical portion of the rough opening. Remove smaller backing paper and apply vertical layer of tape along the window frame while applying firm pressure.

Remove larger backing paper and press on firmly while using a roller or squeegee. Make 45° cuts at each end, from the inside corner outward, make sure to not cut tape too deep to avoid pinholes. Fold both ends up and apply firm pressure. Repeat on both sides.

Head preparation.

Cut SIGA Wigluv® 20/40 or SIGA Fentrim® 230 grey about 4" wider than the width of the prepared rough opening so both ends are overlapping the tape on the jamb. Remove smaller backing paper and apply SIGA Fentrim® 230 grey along the top of the window while applying firm pressure.

Remove larger backing paper and press on firmly using a roller or squeegee. Make 45° cuts at each end, from the inside corner outward, make sure to not cut tape too deep to avoid pinholes. Fold both ends up and apply firm pressure.

Interior air-seal.

Before sealing the interior, insulation must be used around the perimeter of the window in accordance with shop drawings and the insulation manufacturer’s guidelines. Insulation must allow for expansion and contraction of the installed window.

Apply SIGA Fentrim® IS 20 directly on window frame with the pre folded section. Remove backing paper and apply firm pressure using a roller or squeegee. Apply SIGA Fentrim® IS 20 along all sections of the window right up to the corner.

Create corner piece and place into corners. Repeat step for all 4 corners.

Tape around the interior face of the window, and seal the mounting brackets or any other possible sources of leakage.

Ensure a minimum 1” (25mm) overlap with SIGA Fentrim® IS 20 in every direction.

FLASHING (for use with flanged windows)

- (Specifier Note: Refer to section 3.4 Opening Preparation [above] before installing the window according to manufacturer’s instructions).

Install window according to manufacturer’s instructions.

Jamb counterflashing.

Cut SIGA Wigluv® or SIGA Fentrim® 430 grey (4” or wider) about 2" longer than the vertical portion of the rough opening.

Remove smaller backing paper and apply vertical layer of tape along the window frame while applying firm pressure.

Head counterflashing.

Cut SIGA Wigluv® or SIGA Fentrim® 430 grey(4” or wider) about 4" wider than the width of the prepared rough opening so both ends are overlapping the tape on the jamb.

Remove smaller backing paper and apply tape along the top of the window while applying firm pressure.

Membrane integration.

Position weather barrier head flap across head flashing. Adhere using 4-inch wide SIGA Wigluv® or SIGA Fentrim® 430 grey over the 45-degree seams.

Tape head flap in accordance with manufacturer recommendations.

Wall assemblies containing a vapor retarder on the interior wall assembly:

Extend flashing into rough opening to ensure sufficient membrane for connection with vapor retarder and provide a continuous air barrier assembly.

Before sealing  the interior, insulation must be used around the perimeter of the window in accordance with shop drawings and the insulation manufacturer’s guidelines. Insulation must allow for expansion and contraction of the installed window.

Interior air-seal.

          - Before sealing the interior, insulation must be used around the perimeter of the window in accordance with shop drawings and the insulation manufacturer’s guidelines. Insulation must allow for expansion and contraction of the installed window.

Apply SIGA Fentrim® IS 20 directly on window frame with the pre folded section. Remove backing paper and apply firm pressure using a roller or squeegee. Apply SIGA Fentrim® IS 20 along all sections of the window right up to the corner.

Create corner piece and place into corners. Repeat step for all 4 corners.

Tape around the interior face of the window, and seal the mounting brackets or any other possible sources of leakage.

Ensure a minimum 1” (25mm) overlap with SIGA Fentrim® IS 20 in every direction.

PENETRATIONS

Round or square penetrations  must  be sealed with SIGA Wigluv®.

Begin the sealing process at bottom of penetrations, shingling upper tape over bottom tape.

Apply multiple, short pieces of SIGA Wigluv®  around the penetration to create a gasket.

Products that have flanges should be integrated into the water-resistive barrier using SIGA Wigluv®.

WALL TO FOUNDATION TRANSITION

(Specifier Note : When using SIGA Wigluv®, primer will be required in concrete, masonry, plaster and softboards applications. No primer is required on concrete, masonry and plaster, when using SIGA Fentrim®  430 grey. For the correct choise of product for the intended application, the substrate matrix, the application recommendations and product information in the SIGA manual must be considered. The currently valid SIGA manual is available at www.siga.swiss).

Before sealing, clean the substrate. The substrate must be dry, structurally sound and free of any dirt and grease. It must not be adhesive-repellent.

If the intent is to use SIGA Wigluv®, bond the base-joint substrate with high-performance primer SIGA Dockskin®. Brush or roll on SIGA Dockskin® primer to concrete, and let it set, clear and tacky.

Align the center of  SIGA Fentrim® 430 grey 4” (100mm) or wider,  or SIGA Wigluv® 4 “ or wider  to the center of the joint, between the concrete base joint and the weather barrier SIGA Majvest®. Minimum 2” overlap is required onto concrete.

Secure in place, and remove backing strip.

Bond without any tension and wrinkles and press on firmly with hand or roller.

OTHER DETAILING/FLASHING

Contact a SIGA applications advisor for assistance with any unlisted installation details including, but not limited to, the following:

Construction joints.

Transitions :

Roof to air barrier.

Air barrier to vertical or horizontal waterproofing.

Fastener penetrations.

Inside and outside corners.

Shelf angles.

Reverse laps.

Complete detailing and flashing installations per Air Barrier Manufacturer’s installation guide, details, and this specification.

FIELD QUALITY CONTROL

Notify weather barrier manufacturer’s designated representative to obtain periodic observations of weather barrier system installation if required. Notification shall be a minimum of 30 days prior to the start of installation. Notice of final observation shall be made 30 days prior to completion.

Inspections by Commissioner or Architect: Weather barrier materials, accessories, and installation are subject to inspection for compliance with performance requirements. Repair damage to weather barriers caused by destructive testing; follow manufacturer's written instructions.

PROTECTION AND CLEANING

Protect weather barrier from contact with incompatible materials and sealants not approved per weather barrier manufacturer’s recommendation.

Protect installed weather barrier system from damage during construction prior to cladding installation.

END OF SECTION

DISCLAIMER: SIGA Cover Inc. Guide Specifications have been written as an aid to the professionally qualified Specifier and Design Professional. The use of this Guideline Specification requires the sole professional judgment and expertise of the qualified Specifier and Design Professional to adapt the information to the specific needs for the Building Owner and the Project, to coordinate with their Construction Document Process, and to meet all the applicable building codes, regulations and laws. SIGA Cover Inc. EXPRESSLY DISCLAIMS ANY WARRANTY, EXPRESSED OR IMPLIED, INCLUDING THE WARRANTY OF MERCHANTABILITY OR FITNESS FOR PARTICULAR PURPOSE OF THIS PRODUCT FOR THE PROJECT.